Regression model labels: 'With intercept' indicates a standard linear model (y = a + bx), whereas 'Forced through origin' indicates a model constrained to pass through zero (y = bx).

Cross-validated linear regression models for chloride analytical methods (Original scale)

| Response | Predictor | Regression model | Slope | Std.Error | RMSE | MAE | MSE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| IC | ICP | With intercept | 0.960 | 0.011 | 0.257 | 0.212 | 0.086 |
|  | ICP | Forced through origin | 0.973 | 0.009 | 0.265 | 0.230 | 0.083 |
|  | MT | Forced through origin | 0.967 | 0.021 | 0.648 | 0.499 | 0.560 |
|  | MT | With intercept | 0.992 | 0.029 | 0.667 | 0.508 | 0.598 |
|  | PT | With intercept | 0.315 | 0.009 | 0.761 | 0.504 | 1.092 |
|  | PT | Forced through origin | 0.335 | 0.008 | 0.793 | 0.513 | 1.172 |
| ICP | IC | With intercept | 1.035 | 0.012 | 0.268 | 0.223 | 0.091 |
|  | IC | Forced through origin | 1.024 | 0.009 | 0.269 | 0.235 | 0.086 |
|  | MT | Forced through origin | 0.988 | 0.025 | 0.808 | 0.643 | 0.745 |
|  | MT | With intercept | 1.026 | 0.033 | 0.813 | 0.626 | 0.810 |
|  | PT | Forced through origin | 0.342 | 0.010 | 0.918 | 0.607 | 1.505 |
|  | PT | With intercept | 0.324 | 0.011 | 0.946 | 0.651 | 1.524 |
| MT | IC | With intercept | 0.968 | 0.028 | 0.654 | 0.497 | 0.597 |
|  | IC | Forced through origin | 1.010 | 0.022 | 0.661 | 0.505 | 0.593 |
|  | PT | With intercept | 0.309 | 0.010 | 0.663 | 0.516 | 0.675 |
|  | ICP | With intercept | 0.928 | 0.030 | 0.732 | 0.566 | 0.717 |
|  | ICP | Forced through origin | 0.981 | 0.025 | 0.789 | 0.629 | 0.738 |
|  | PT | Forced through origin | 0.340 | 0.010 | 0.869 | 0.651 | 1.094 |
| PT | IC | Forced through origin | 2.898 | 0.072 | 2.024 | 1.320 | 7.946 |
|  | IC | With intercept | 3.056 | 0.089 | 2.058 | 1.364 | 8.016 |
|  | MT | With intercept | 3.074 | 0.103 | 2.182 | 1.651 | 7.738 |
|  | ICP | Forced through origin | 2.815 | 0.078 | 2.271 | 1.521 | 9.689 |
|  | ICP | With intercept | 2.921 | 0.100 | 2.412 | 1.662 | 10.169 |
|  | MT | Forced through origin | 2.816 | 0.085 | 2.518 | 1.844 | 9.656 |

Cross-validated linear regression models for chloride analytical methods (Log scale)

| Response | Predictor | Regression model | Slope | Std.Error | RMSE | MAE | MSE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| logIC | logPT | With intercept | 0.960 | 0.026 | 0.073 | 0.057 | 0.006 |
|  | logICP | With intercept | 0.857 | 0.026 | 0.077 | 0.057 | 0.007 |
|  | logICP | Forced through origin | 0.918 | 0.029 | 0.096 | 0.076 | 0.010 |
|  | logMT | With intercept | 1.047 | 0.046 | 0.109 | 0.097 | 0.014 |
|  | logMT | Forced through origin | 0.939 | 0.038 | 0.118 | 0.102 | 0.016 |
|  | logPT | Forced through origin | 0.536 | 0.038 | 0.206 | 0.180 | 0.044 |
| logICP | logIC | With intercept | 1.118 | 0.034 | 0.087 | 0.065 | 0.009 |
|  | logIC | Forced through origin | 1.040 | 0.032 | 0.098 | 0.071 | 0.011 |
|  | logPT | With intercept | 1.078 | 0.042 | 0.116 | 0.094 | 0.015 |
|  | logMT | With intercept | 1.170 | 0.063 | 0.153 | 0.127 | 0.026 |
|  | logMT | Forced through origin | 0.957 | 0.057 | 0.175 | 0.147 | 0.036 |
|  | logPT | Forced through origin | 0.527 | 0.051 | 0.269 | 0.226 | 0.078 |
| logMT | logIC | With intercept | 0.875 | 0.038 | 0.098 | 0.086 | 0.011 |
|  | logPT | With intercept | 0.838 | 0.045 | 0.115 | 0.096 | 0.016 |
|  | logIC | Forced through origin | 0.987 | 0.039 | 0.117 | 0.097 | 0.017 |
|  | logICP | With intercept | 0.750 | 0.040 | 0.124 | 0.103 | 0.017 |
|  | logPT | Forced through origin | 0.572 | 0.032 | 0.159 | 0.137 | 0.030 |
|  | logICP | Forced through origin | 0.889 | 0.053 | 0.174 | 0.138 | 0.035 |
| logPT | logIC | With intercept | 1.005 | 0.028 | 0.075 | 0.060 | 0.006 |
|  | logICP | With intercept | 0.865 | 0.034 | 0.107 | 0.085 | 0.012 |
|  | logMT | With intercept | 1.050 | 0.056 | 0.137 | 0.123 | 0.021 |
|  | logMT | Forced through origin | 1.517 | 0.084 | 0.268 | 0.230 | 0.081 |
|  | logIC | Forced through origin | 1.493 | 0.107 | 0.338 | 0.293 | 0.120 |
|  | logICP | Forced through origin | 1.298 | 0.126 | 0.427 | 0.384 | 0.193 |